## Blad1
PV naming convention
PV name | Explanation | Comment
Waveforms
Cacity-XXXRFC:RFS-DIG-X01:Dwn0-Cmp0/1 | Cavity field amplitude/phase | dt=0.12us
Cacity-XXXRFC:RFS-DIG-X01:Dwn5/6-Cmp0/1 | Cavity forward/reflected power amplitude/phase | dt=0.12us
Location:PBI-BCM-00X:PRC-TR1-ArrayData | BCM readings: total 13 devices | dt = 0.18us
Location:PBI-BPM-00X:YP/XP/SA/SM-TR1-ArrayData | BPM Y/X position/phase/amplitude: total 85 devices | dt = 0.17us
Scalars
XXXCrm:Cryo-LT-001/2:MeasValue | Cryomodule helium levels
XXXCrm:Cryo-PT-00X:MeasValue | Cryomodule helium pressure
XXX:Cryo-CV-XXX:ValvePosition | Cryomodule/Valve Box Valve positions levels
XXXCrm:Cryo-TT-XXX:MeasValue | Cryomodule Power Coupler Flange temperatures
XXX:Vac-VGC-X0000:PrsR | Vacuum gauge reading
XXX:Vac-VVS-X0000:OpenR | Vacuum gate valve: Open=1, Closed=0
ISrc-010:Vac-VVMC-01100:FlwR | Source hydrogen flow rate
XXX:RF-Switch-STAT-RB | RF shutter position: RF Pass=1
RFQ/DTL-0X0:RFS-DIG-101:AI2/3/4/5-SMonAvg-Mag | Cavity power fwd1/rfl1/fwd2/rfl2
XXX:RFS-DIG-X01:AI1-SMonAvg-Mag | Reference Line
RFQ/DTL-0X0:RFS-DIG-101:AI6-SMonAvg-Mag | PwrAmp Fwd
RFQ/DTL-0X0:RFS-DIG-102:AI0/1/2/3-SMonAvg-Mag | PreAmp fwd/PwrAmp rfl/Circulator fwd/Circulator rfl
XXX:RFS-DIG-XXX:AI2/3/4/5/6-SMonAvg-Mag | PreAmp fwd/PwrAmp fwd/PwrAmp rfl/Cavity fwd/Cavity rfl
XXX:RFS-DIG-XXX:AI7-SMonAvg-Mag | Vector Modulator
XXX:RFS-DIG-X01:AI0-SMonAvg-Mag | Cavity probe field
XXX:DetuneDecayMovAvg | Cavity detuning
XXX:DetuneDecayQL | Cavity loaded quality factor
XXX:RFSyncWdt-SP | RF Pulse width
CWM-CWS03:WtrC-TT-020:Temperature | RFQ vane temp
CWM-CWS03:WtrC-TT-0[3-5]0:Temperature | RFQ body temp
DTL-0[1-5]0:WtrC-TT-30[1-3]:Temperature | DTL temp
CWM-CWS04:WtrC-TT-202:Temperature | DTL skid loop temp
XXXCrm:Cryo-TT-XXX:MeasValue | SCL temp
Location:PwrC-PSQH/V-010:Cur-R/Vol-R | Horizontal/vertical quadrupole current/voltage
Location:PwrC-PSQH/V-010:DCLnkVol-R/HeatTmp-R | Horizontal/vertical quadrupole DC link voltage/ heatsink temp
Location:PwrC-PSCH/V-010:Cur-R/Vol-R | Horizontal/vertical corrector current/voltage
Location:PwrC-PSCH/V-010:DCLnkVol-R/HeatTmp-R | Horizontal/vertical corrector DC link voltage/ heatsink temp
XXX:RFS-Mod-XXX:State-RB/PulseVoltage-RB | Modulator state readback/voltage
XXX:RFS-Mod-XXX:PulseFrequency-RB/PulseWidth-RB | Modulator frequency/pulse length
XXX:RFS-Mod-010:PulseCurrent-KX-RB | Klystron current
XXX:RFS-Mod-XXX::OilTankTemp-RB/OilTankHum-RB | Oil tank temp/humidity
CrS-ACCP:CRYO-PDT/TT-31801:Val | LINAC helium supply pressure/ temp
CrS-ACCP:CRYO-TT-34600:Val | Cryoplant cold compressors /chains tem
CrS-ACCP:CRYO-GT-21200:Val | HP compressor slide valve opening | Warm compressors
Pwr-L1U2:CnPw-EA-ACM210:3Phase_ActiveP | HP compressor power consumption
CrS-ACCP:CRYO-M-24000:Val | SP compressor speed
Pwr-L1U3:CnPw-EA-ACM230:3Phase_ActiveP | SP compressor power consumption
CrS-ACCP:CRYO-M-23000:Val | LP compressor speed
Pwr-L1U6:CnPw-EA-ACM240:3Phase_ActiveP | LP compressor power consumption
CrS-ACCP:Cryo-GT-91200:PV | BC compressor slide valve opening
Pwr-L1U7:CnPw-EA-ACM290:3Phase_ActiveP | BC compressor power consumption
CrS-ACCP:CRYO-PT-21632:Val | HP pressure | Gas management panel
CrS-ACCP:CRYO-PT-22631:Val | MP pressure
CrS-ACCP:CRYO-PT-23099:Val | LP pressure
CrS-ACCP:CRYO-PT-24099:Val | SP pressure
CrS-ACCP:CRYO-FT-31000:Val | HP massflow
CrS-ACCP:CRYO-ST-31131:Val | T31130 speed | 1st turbine string
CrS-ACCP:CRYO-TT-31131:Val | T31130 brake temperature
CrS-ACCP:CRYO-SC-31130:CalcMassFlw | T31130 massflow
CrS-ACCP:CRYO-ST-31151:Val | T31150 speed
CrS-ACCP:CRYO-TT-31151:Val | T31150 brake temperature
CrS-ACCP:CRYO-TT-31210A:Val | Adsorber A temperature | 80K adsorber
CrS-ACCP:CRYO-TT-31210B:Val | Adsorber B temperature
CrS-ACCP:CRYO-PT-31220:Val | Adsorber A pressure
CrS-ACCP:CRYO-PT-31220:Val | Adsorber B pressure
CrS-ACCP:CRYO-ST-31331:Val | T31330 speed | 2nd turbine string
CrS-ACCP:CRYO-TT-31331:Val | T31330 brake temperature
CrS-ACCP:CRYO-SC-31330:CalcMassFlw | T31330 massflow
CrS-ACCP:CRYO-ST-31531:Val | T31530 speed | 3rd turbine string
CrS-ACCP:CRYO-TT-31531:Val | T31530 brake temperature
CrS-ACCP:CRYO-SC-31530:CalcMassFlw | T31530 massflow
CrS-ACCP:CRYO-ST-31551:Val | T31550 speed
CrS-ACCP:CRYO-TT-31551:Val | T31550 brake temperature
CrS-ACCP:CRYO-ST-31731:Val | T31730 speed | JT turbine
CrS-ACCP:CRYO-TT-31731:Val | T31730 brake tepmerature
CrS-ACCP:CRYO-SC-31730:CalcMassFlw | T31730 massflow
CrS-ACCP:CRYO-LT-63000:Val | 20kl Dewar level | 20kl Dewar
CrS-ACCP:CRYO-PT-33850:Val | Dewar pressure
CrS-ACCP:CRYO-FT-34905:Val | CC massflow | Cold Compressors(CCs) string
CrS-ACCP:CRYO-ST-34701:Val | CC1 speed
CrS-ACCP:CRYO-TT-34650:Val | CC1 inlet temperature
CrS-ACCP:CRYO-ST-34801:Val | CC2 speed
CrS-ACCP:CRYO-TT-34750:Val | CC2 inlet temperature
CrS-ACCP:CRYO-ST-34901:Val | CC3 speed
CrS-ACCP:CRYO-TT-34850:Val | CC3 inlet temperature
CrS-ACCP:CRYO-TT-34950:Val | CC3 outlet temperature
CrS-ACCP:CRYO-PT-34652:Val | CC1 inlet pressure
CrS-ACCP:CRYO-PT-34650:Val | CC1 inlet pressure
CrS-ACCP:CRYO-PT-34750:Val | CC2 inlet pressure
CrS-ACCP:CRYO-PT-34850:Val | CC3 inlet pressure
CrS-ACCP:CRYO-PT-34950:Val | CC3 outlet pressure
CrS-ACCP:CRYO-LT-33710:Val | phase seperator level | Phase seperator
CrS-ACCP:CRYO-PT-33710:Val | phase seperator pressure
CrS-ACCP:CRYO-LT-32890:Val | 2K test vessel level | 2K test vessel
CrS-ACCP:CRYO-PT-32890:Val | 2K test vessel pressure
CrS-ACCP:CRYO-EH-32890:Val | Isothermal heat load
CrS-ACCP:CRYO-EH-32891:Val | Non-isothermal heat load
CrS-ACCP:CRYO-TT-31702:Val | CDS 4K supply temperature | CDS supply
CrS-ACCP:CRYO-PT-31702:Val | CDS 4K supply pressure
CrS-ACCP:CRYO-FT-31702:Val | 4K supply massflow
CrS-ACCP:CRYO-PT-31801:Val | CDS 4K supply pressure after CV31800
CrS-ACCP:CRYO-PT-34600:Val | 2K return pressure
CrS-ACCP:CRYO-PT-34610:Val | 2K return pressure
CrS-ACCP:CRYO-TT-31640:Val | TS supply temperature
CrS-ACCP:CRYO-PT-31641:Val | TS supply pressure
CrS-ACCP:CRYO-TT-31650:Val | TS return temperature
CrS-ACCP:CRYO-PT-31650:Val | TS return pressure
CrS-ACCP:CRYO-FT-31640:Val | TS massflow
Spk-000CDL:Cryo-LT-91:MeasValue | Endbox level 1 | Endbox
Spk-000CDL:Cryo-LT-92:MeasValue | Endbox level 2
Spk-000CDL:Cryo-PT-92:MeasValue | Endbox pressure
Spk-000CDL:Cryo-PT-91:MeasValue | Endbox supply pressure